NOTE: Measurement of tear osmolarity is performed at the Baseline visit (00) and at months 06, 12, 18, and 24 at the DREAM Clinical Centers that have the TearLab Osmometer. All measurements must be done by the DREAM certified technician or clinician. Recording out of range results: If test results display as “Below Range”, enter 000. If test results display as “Above Range”, enter 999.

- Was Tear Osmolarity performed at this visit? (optros)

Why was tear osmolarity testing not done?

- Osmometer malfunction  (oposmal)	(   )1

- Osmometer not available  (oposna)	(   )1

- Patient refusal   (opospr)	(   )1

- Other (Specify below)     (oposoth)	(   )1

e. ______________________________(oposots)

SKIP TO ITEM 4

(  )1 Yes

(  )0 No

- Calibration:  Following the TearLab instruction guide, calibrate each Pen using the Electronic Check Card.

Record calibration results:

      - Right Pen:	__ __ __ mOsms/L  (opcalrt)

      - Left Pen: 	__ __ __ mOsms/L  (opcalle)

- Tear Osmolarity Measurement:  Following the TearLab Quick Reference Guide, test the right eye and the left eye of the study subject.

Record the test results:

- Right Eye:	__ __ __ mOsms/L     (oposmrt)

- Left Eye: 	__ __ __ mOsms/L   (oposmle)

- Last name & certification number of person performing  testing  (or person who completed this form if testing was not completed):

- Print Last Name:__________________________   (qclname)

- Certification #:  ___ ___ ___ ___   (qcconcert)

- Date of Exam  (qccompdtc)

___ ___ / ___ ___ / 201 ___

Month	Day	  Year